| Doc ID: NWQL/LMS/TR-11 Revision No. : 19 Initiated by: QC Reviewed by: QM Approved by: Director NWQL Issued by: DQM Issue Date : 31-10-2021 | # National Water Quality # Laboratory CHEMICAL & MICROBIOLOGY LABORATORY |
| --- | --- |

|  | PAKISTAN COUNCIL OF RESEARCH IN WATER RESOURCES Ministry of Water Resources, Government of Pakistan Khayban-e-Johar, H-8/1, Islamabad www.pcrwr.gov.pk |  |
| --- | --- | --- |
| TEST REPORT CHEMICAL & MICROBIOLOGY |  |  |

| Report Serial No |  | AR-04992 |  |  |  | Total No of Pages |  | 3 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Customer Name & Address |  | (INT) PRMSC (Punjab Rural Municipal Company) C/O PCRWR, 03365137405 |  |  |  |  |  |  |  |  |  |
| Sampling Date & Time |  | 03-10-2023, 12:30 PM |  |  |  | Customer Code |  | FWQL- S 1 |  |  |  |
| NWQL Sample Code |  | MCL-10409-23 |  |  |  | Sample Receipt Date & Time |  | 02-10-2023 |  |  |  |
| Temperature of Sample at receipt °C |  | 19 |  |  |  | Humidity (%) at Receipt |  | 60 |  |  |  |
| Date(s) of Analysis |  | 06-10-2023 to 12-10-2023 |  |  |  | Reporting Date |  | 12-10-2023 |  |  |  |
| Tehsil |  | Isa khel |  |  |  | Village Name |  | Kuch tunder Khel |  |  |  |
| Source |  | Tap water |  |  |  | Work Order |  | 3 |  |  |  |
| Location |  | Chughlan pumping station, Kuch tunder Khel |  |  |  |  |  |  |  |  |  |
| PHYSICAL & AESTHETIC PARAMETERS |  |  |  |  |  |  |  |  |  |  |
| Sr.# | Water Quality Parameter |  | Units | Det. Limit | Reference Methods |  | Permissible Limits / Tolerance Limit |  | Results | Measurement Uncertainty U=w |
|  |  |  |  |  |  |  | Potable Water (PSQCA / NSDWQ, 2010) |  |  |  |
| 1 | Color |  | - | - | Sensory Evaluation |  | Colorless |  | Colorless | - |
| 2 | Odour |  | - | - | Sensory Evaluation |  | Unobj |  | Unobj | - |
| 3 | Taste |  | - | - | Sensory Evaluation |  | Unobj |  | UnObj | - |
| 4 | Electrical Conductivity |  | (µS/cm) | 0.11 | APHA, 23rd Edition |  | NGVS |  | 965 | ± 4% |
| 5 | pH |  | - | 0.03 | APHA, 23rd Edition |  | 6.5 - 8.5 |  | 7.6 | ± 5% |
| 6 | Turbidity |  | NTU | 0.31 | APHA, 23rd Edition |  | < 5 |  | 4.0 | ± 5% |

| Sr.# | Water Quality Parameter | Units | Det. Limit | Reference Methods | Permissible Limits / Tolerance Limit | Results | Measurement Uncertainty U=w |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Potable Water (PSQCA / NSDWQ, 2010) |  |  |
| 7 | Alkalinity as CaCO3 | mg/L | 5 | APHA, 23rd Edition | NGVS | 270 | ± 6% |
| 8 | Bicarbonates | mg/L | 5.0 | APHA, 23rd Edition | NGVS | 270 | ± 6% |
| 9 | Calcium | mg/L | 2.0 | APHA, 23rd Edition | NGVS | 72 | ± 7% |
| 10 | Carbonates | mg/L | 5.0 | APHA, 23rd Edition | NGVS | BDL | - |
| 11 | Chlorides | mg/L | 2.0 | APHA, 23rd Edition | < 250 | 12 | ± 5% |
| 12 | Total Hardness | mg/L | 5.0 | APHA, 23rd Edition | < 500 | 290 | ± 9% |
| 13 | Magnesium | mg/L | 1.0 | APHA, 23rd Edition | NGVS | 17 | ± 6% |

| 14 |  | Potassium |  | mg/L |  | 0.02 |  | APHA, 23rd Edition |  | NGVS |  | 5.90 | ± 5% |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 15 |  | Sodium |  | mg/L |  | 1.57 |  | APHA, 23rd Edition |  | NGVS |  | 86 | ± 4% |
| 16 |  | Sulphate |  | mg/L |  | 0.28 |  | APHA, 23rd Edition |  | NGVS |  | 190 | ± 4% |
| 17 |  | Nitrate (N) |  | mg/L |  | 0.06 |  | APHA, 23rd Edition |  | < 10 |  | BDL | ± 5% |
| 18 |  | Nitrite* |  | mg/L |  | 0.05 |  | USEPA, 2000 |  | < 3 |  | BDL | - |
| 19 |  | TDS |  | mg/L |  | - |  | APHA, 23rd Edition |  | < 1000 |  | 531 | - |
| 20 |  | Iron* |  | mg/L |  | 0.04 |  | APHA, 23rd Edition |  | 0.3 (WHO, 2004) |  | 0.75 | ± 3% |
| 21 |  | Fluoride |  | mg/L |  | 0.06 |  | APHA, 23rd Edition |  | 1.5 |  | 0.60 | ± 4% |
| 22 |  | Phosphate |  | mg/L |  | 0.05 |  | USEPA, 2000 |  | NGVS |  | 0.45 | - |
| TRACE & ULTRA-TRACE ELEMENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr.# |  | Water Quality Parameter |  | Units |  | Det. Limit |  | Reference Methods |  | Permissible Limits / Tolerance Limit |  | Results |  | Measurement Uncertainty U=w |
|  |  |  |  |  |  |  |  |  |  | Potable Water (PSQCA / NSDWQ, 2010) |  |  |  |  |
| 23 |  | Aluminum |  | μg/L |  | 0.15 |  | APHA, 23rd Edition |  | 200 |  | 7.36 |  | - |
| 24 |  | Arsenic |  | μg/L |  | 0.13 |  | APHA, 23rd Edition |  | 50 |  | 26 |  | - |
| 25 |  | Barium |  | µg/L |  | 0.09 |  | APHA, 23rd Edition |  | 700 |  | 26.51 |  | - |
| 26 |  | Cadmium |  | µg/L |  | 0.08 |  | APHA, 23rd Edition |  | 10 |  | BDL |  | - |
| 27 |  | Chromium |  | µg/L |  | 0.05 |  | APHA, 23rd Edition |  | 50 |  | 0.55 |  | - |
| 28 |  | Copper |  | µg/L |  | 0.11 |  | APHA, 23rd Edition |  | 2000 |  | 1.86 |  | - |
| 29 |  | Manganese |  | µg/L |  | 0.06 |  | APHA, 23rd Edition |  | 500 |  | 2 |  | - |
| 30 |  | Molybdenum |  | µg/L |  | 0.15 |  | APHA, 23rd Edition |  | NGVS |  | BDL |  | - |
| 31 |  | Nickel |  | µg/L |  | 0.15 |  | APHA, 23rd Edition |  | 20 |  | 7.01 |  | - |
| 32 |  | Lead |  | µg/L |  | 0.16 |  | APHA, 23rd Edition |  | 50 |  | BDL |  | - |
| 33 |  | Selenium |  | µg/L |  | 0.12 |  | APHA, 23rd Edition |  | 10 |  | BDL |  | - |
| 34 |  | Strontium |  | µg/L |  | 0.13 |  | APHA, 23rd Edition |  | NGVS |  | 296 |  | - |
| 35 |  | Zinc |  | µg/L |  | 0.08 |  | APHA, 23rd Edition |  | 5000 |  | 5 |  | - |
| 36 |  | Boron |  | mg/L |  | - |  | APHA 4500 |  | 0.3 |  | BDL |  |  |
| 37 |  | Antimony |  | mg/L |  | - |  | APHA 3500 |  | <0.005 |  | BDL |  |  |
| 38 |  | Mercury |  | mg/L |  | - |  | APHA 3500 |  | <0.001 |  | BDL |  |  |
| 39 |  | Cyanide |  | mg/L |  | - |  | APHA 4500 |  | <0.05 |  | BDL |  |  |
| 40 |  | Silica |  | mg/L |  | - |  | APHA 4500 |  | NGVS |  | BDL |  |  |
| MICROBIOLOGICAL PARAMETERS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sr.# |  | Water Quality Parameter |  | Units |  | Det. Limit |  | Reference Methods |  | Permissible Limits / Tolerance Limit |  | Results |  | Measurement Uncertainty U=w (95% Confidence Limits) |
|  |  |  |  |  |  |  |  |  |  | Potable Water (PSQCA / NSDWQ, 2010) |  |  |  |  |
| 36 |  | Total Coliforms |  | CFU/100 ml |  | 0 |  | APHA, 23rd Edition |  | 0 (NSDWQ,2010) |  | 28 |  | - |
| 37 |  | Fecal Coliforms |  | CFU/100 ml |  | 0 |  | APHA, 23rd Edition |  | 0 (NSDWQ,2010) |  | 4 |  | - |
| 38 |  | E-coli |  | CFU/100 ml |  | 0 |  | USEPA-1603 |  | 0 (NSDWQ,2010) |  | -ve |  | - |

NGVS: No Guideline Value Set	APHA: American Public Health Association,

WHO: World Health Organization	FAO: Food & Agriculture Organization

MPN: Most Probable Number	USEPA: United States Environmental Protection Agency PSQCA: Pakistan Standard Quality Control Authority	AOAC: Association of Official Analytical Chemists NSDWQ: National Standards for Drinking Water Quality	CFU: Colony Forming Unit

BDL: Below Detection Limit	QC: Quality control

MPN: Most Probable Number	*Non Accreditated

**It is equals to zero and it is reported as safe

# Interpretation / Statement of Conformity

| Quality of water sample based on tested chemical parameter | Safe | ✔ Unsafe |
| --- | --- | --- |
| Quality of water sample based on tested microbial parameter | Safe | ✔ Unsafe |
| Remarks (if any) | Un-Safe For drinking |  |

* It is computer generated report and does not need signatures.

# Terms & Conditions:

Test results in this report relate only to the test item/sample submitted and tested.

The test report shall not be reproduced except in full, without written approval of NWQL-PCRWR

Water Quality Parameters exceeding the WHO Drinking Water Guideline values (Guidelines for Drinking-Water Quality, third editions, 2004) National Environmental Quality Standards (1999) and Pakistan Standard Quality Control Authority/National Standard for Drinking Water Quality (NSDWQ, 2010, PAKEPA) are highlighted.